## Narrative
RISK ASSESSMENT NARRATIVE |  |  |  |  | Reference No. | 2021-AA-HIDD-TH-01
Department/Company: |  | Al Ahlia Contracting | Facility/Unit: | ELECTRICAL | Assessment Date: | 2021-12-11 | -
Location: |  | Hidd Dry Dock Highway | Job Title: | Excavation for Trial hole to locate Existing 220kV Duct bank crossing BAPCO ARAD A1 JET FUEL LINE. | Issue Date/Rev No.
Bapco Form No. BP4514 (11/21)
DEPARTMENT:
Awali Services
Central/Remeasurement
Contracts
Drilling
Engineering
Engineering-General
Exploration and Development
Field Maintenance
Financial Accounting
Fire, Health and Safety
Health, Safety and Environment
Hospital Services
Human Resources
Information Technology
Internal Audits
International Sales
Local Marketing
LSDP
Maintenance-General
Management Accounting
Marketing-General
Materials
Medical
North OPD
Oil Storage & Export
Petroleum Engineering
Plant Engineering
Plant Maintenance
Power & Utilities
Process Control and Instrumentation
Production
Production-Drilling-General
Projects Engineering
Public Relations
Quality Assurance
Refinery Clinic
Refinery Operations Planning
Reliability Engineering
RGDP
Security
South OPD
Stock Control
Supply and Marine
Technical Services
Training and Development
Purpose: The Purpose of the Risk Assessment is to take Trial hole to locate Existing 220kV Duct bank crossing the BAPCO ARAD A1 JET FUEL LINE.
1. Steps :
a) Mobilization of personnels,vehicles & equipments at site b) Excavate Trial hole c) To locate existing 220kV Duct bank
d) Backfilling & Compaction e)Demobilization
2. List persons affected by this risk assessment :
a) Engineer and Supervisor b)Labour c)Carpenter d)Skilled labor e)Visitor (EWA) f)Other intrested parties
3. List the hazardous substances or chemicals used in this risk assessment.
a) None
4. List the tools and equipment that shall be used in this Risk Assessment:
a)Shovel/ Pick-Axe and Hand Tools b)Jumping Compactor c) Fire Extinguishers e) Six wheeler and Tipper 2T i)Tool box

## Risk Assessment Form
RISK ASSESSMENT FORM | [7 empty] | Reference No. | 2021-AA-HIDD-TH-01
Department/Company: |  | Al Ahlia Contracting |  | Facility/Unit: | ELECTRICAL |  |  | Assessment Date: | 2021-12-11 | -
Location: |  | Hidd Dry Dock Highway |  | Job Title: | Excavation for Trial hole to locate Existing 220kV Duct bank crossing BAPCO ARAD A1 JET FUEL LINE. |  |  | Issue Date/Rev No. | - | -
No. | Activity / Job Task | HAZARD | CONSEQUENCE | Severity of Consequence [Refer to the Matrix] | Existing Control Measures | Likelihood [Refer to the Matrix] | RISK | Additional Control Measures | Residual Risk No. | Action Risk No.
1 | Mobilization | Loading and unloding of materials | Personnel injuries due to falling objects | 2 | 1.Full time supervision 2.Barricading the site work 3.Restricting the area for unauthorized entry. 4. Swing radious of equipment shall be isolated using barricades. | 2 | 4 | No Further Action Required | 4
2 | Manual Handling | Frequent,forced or awkward movement of the body | Back injuries,pain in wrist,hand,arm & neck,Strains injuries caused by lifting / moving objects,and hand | 3 | 1.Do not lift the more weighted materials & tools by hand. 2.Keep the firm grip and load very close to the body as possible. 3.Dont jerk or make any awkward movements 4.Lifting equipments to be used if required. | 1 | 3 | No Further Action Required | 3
3 | Traffic | Falls, Property damage | human injury, property damage | 2 | 1. Provide proper barricading of the trench to prevent any traffic movement in working area. 2. provide flagman for entry and exit of the site. 3. provide all cautionary sign boards to make aware the coming traffic of the excavation work ahead. 4. Take necessary permissions from road if required and noify Bapco officials prior to the work. 5.Have to check the signal before crossing the road | 2 | 4 |  | 4
4 | Excavation for Trial hole | Contact with underground service | Damaging underground electrical cables & Water pipeline. | 2 | 1. Valid Wayleave/permit. 2. Survey and trial pit 3. Contact the appropriate service providers (ETD,EDD,WDD,Bapco & Tatweer). 4. Only hand tools shall be used to expose existing cable / other utility services. 5. Cable corridor shall be identified and marked. 6.Only manual excavation shall be carried out near Bapco utilities. 7.If required we use jack hammer after the approval from Bapco. | 2 | 4 | No Further Action Required | 4
|  | Personnel and equipment falling into Trench | Personnel injury | 3 | 1. Provide barriers with proper signage and flickering lights around the excavated pit 1 mtr away from the edge. 2. Assign a dedicated flagman to guide equipment movement, if required. 3. Do not take mobile equipment too close to the excavated pit/trench, minimum 3m away from the edges. 4. Do not allow anybody to work in the pit below where equipment is positioned. 5. Do not store any materials at the edge of the excavated trench/pit. 6. Provide safe access and egress. 7. Do not walk at the edge of the excavated trench. | 1 | 3 | No Further Action Required | 3
|  | Collapse of excavation | Physical injury | 3 | 1. Soil must be kept at least 1 meter away from the excavated pit/trench edge. 2. Carry out a daily visual inspection. 3. Heavy equipment shall not be taken too close to the excavated trench/pit, minimum 3m away from edge. 4. flag man shall closely monitor the heavy equipment movement during operation. 5. Shoring should be done before entrance trench if required. | 1 | 3 | No Further Action Required | 3
|  | Access and egress | Personnel injury | 3 | 1. Provide proper access and egress. 2. Unsafe area shall be barricaded and warning sign displayed. 3.Access and egress should be clear from any obstruction. 4.Separate one way for exit and one way for entry to prevent any conflicts between worker | 1 | 3 | No Further Action Required | 3
|  | Tripping hazard | Personnel injury | 2 | 1. Site cleanliness. 2. Wear mandatory PPE (Safety shoes). 3. Toolbox meeting. 4. Training & awareness. 5. Proper warning signs and illumination shall be provided. | 2 | 4 | No Further Action Required | 4
|  | Collision with equipment/ equipment hazard | Personnel injury and / or property damage | 2 | 1. Toolbox meeting. 2. Training & awareness. 3. Controlled movement of machinery with the supervision of a competent person. 4.Proper warning signs shall be provided. | 2 | 4 | No Further Action Required | 4
|  | Transport hazards | Personnel injury and / or property damage | 2 | 1. Proper warning signs shall be provided. 2. Vehicle speed shall be restricted to 20 km/hr. 3. Toolbox meeting. 4. Training & awareness. 5.Controlled movement of machinery with the supervision of a competent person. | 2 | 4 | No Further Action Required | 4
5 | Working below/above/nearby Bapco Jet fuel line | Existing Bapco fuel line corridor (exposure to fumes/H2S), Release of high-pressure substances from the existing pipeline networks due to unrestricted site, hit by a vehicle, worker | Fire (Property Damage, Personal injury) | 4 | 1- Obtain Bapco SWP and Al Ahlia internal work permit system. 2- Ensure work area is fully covered with proper barricading and proposed pipe laying route is clearly marked. 3- Sufficient Site-Safety signage are installed. 4- NO vehicle parking near Bapco pipeline. 5- Use Competent work force. 6- Conduct Task specific Tool Box Talk by supervisor. 7- Use Multi gas monitor and Gas monitor on site. 8- Proper supervision. 9- Ensure to maintain safe access and egress. 10- Follow Bapco confined Space procedures system. 12- Conduct Task-specific Tool Box Talk by supervisor. 13- Use a Multi-gas monitor and area Gas monitor on-site. 14- Proper supervision. 15- Ensure to maintain safe access and egress. | 1 | 4 | No Further Action Required | 4
6 | Protect Bapco pipeline by plywood box encasement for protection | FORMWORKS, Hitting by hand tools to pipeline | Human injury | 2 | 1.Competent Carpenter 2.Inspect tools before start the work on a daily basis. 3.while hammering nail wear ppe. 4.Maintain proper housekeeping. 5.Dont throw nail in ground use proper basket. 6. Proper P.P.E (Goggles, coverall, gloves, footwear & hard helmet). 7. Safety Toolbox and Awareness. 8. Supervision. | 1 | 2 |  | 2
7 | Confined Space Entry excavation deeper than 1.2 meter | Oxygen deficiency, Enrich atmosphere | Fire, Asphyxiation Suffocation | 4 | 1. Following Bapco Confined space procedure. 2. Only certified gas tester to conduct gas testing. 3. Ventilation must be provided when it is necessary 4. Entry supervisor and rescue Team available full time. 5. Rescue plan, equipment, fire and first aid must be available full time. 6. First aider must be available full time 7. Proper access and egress must be provided. 8. Falling protection must be provided. 9. Excavation area must be barricaded and signage must be provided. 10. Full time supervision by permit holder. 11. toolbox and awareness must be conducted before entering to the confined space | 1 | 4 |  | 4
8 | Backfilling & compaction | Manual Handling Hazard & Mechanical hazards,vibration (compactor) | Personnel injuries (hands and back injuries) & crush by compactor,Earing damage | 2 | 1.Competent operator 2.Compactor with P.P.E. (Earmuff) 3.Full Time supervision & toolbox and awareness | 1 | 2 | No Further Action Required | 2
9 | Demobilization | Loading and unloading Hazards | Personnel injuries due to falling objects | 2 | 1.Full time supervision. 2.Competent operators and Riggers. 3.Barricading the worksite. 4.Restricting the area for unauthorized entry. | 2 | 4 | No Further Action Required | 4
10 | Entry and exit deep excavation | Falls, trips, collapse, | Personnel injury | 2 | 1. proper access to enter the excavation like stairs. 2.Check the confined space area with multi gas tester to check the presence of any gas. 3.only specially confined space trained employees to work in confined space. 4.Separte one way for exit and one way for entry to prevent any conflict between workers. 5.Entry and exit to be proeprly barricaed while ther work is stopped. 6.Continous monitoring the H2S gas using area gas monitor | 2 | 4 | No Further Action Required | 4
11 | Manual Handling | Slip/Trip/Fall, Pinch point, sharp edges. Frequent forced or awkward movement of the body. | Back injury | 3 | 1.Adopt safe handling of materials & correct body positioning. 2.Tool box to be conducted on safe manual handling technique. 3.Place feet apart, leading one leg forward. 4.Bend legs (not your back) to lift any load. 5.Take full load only on thighs, not on back. 6.Area shall be barricaded. 7.Check out the area where the load will be placed before lifting the load. 8.Experienced workers shall be assigned the job. 9.Ensure there are enough crew members before lifting the load. 10. Check for any obstructions before lifting. | 1 | 3 | No Further Action Required | 3
12 | Working out door | Hot or cold Environment | Working in an excessively hot or cold environment can cause fatal or serious health effects | 2 | 1. Supervision. 2 shades and frequent brakes. 3.suffecient drinking water. 4.Toolbox and awareness. | 1 | 2 | No Further Action Required | 2
13 | Coronavirus (COVID-19) | Virus infection | COVID-19 can cause health effects and can spread to large number of people. | 2 | 1-Daily temperature documenting. 2-keep safe Distance between together. 3-Wash your hands regularly and thoroughly using soap and water. Use alcohol-based sanitizers. 4-Clean and disinfect frequently used such as hand tools. 5-Avoid contact with people experiencing a fever or suffering from a cough. 6-Toolbox meeting | 2 | 4 | No Further Action Required | 4
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
[7 empty] | 0 | No additional required | 0 | -
Bapco Form No. BP4514 (11/21)
DEPARTMENT:
Awali Services
Central/Remeasurement
Engineering
Engineering-General
Exploration and Development
Field Maintenance
Financial Accounting
Fire, Health and Safety
Gas Distribution Network
Hospital Services
Human Resources
Information Technology
Internal Audits
International Sales
Local Marketing
Lube Base Oil Plant
LSDP
Maintenance-General
Management Accounting
Marketing-General
Materials
Medical
North OPD
Oil Storage & Export
Petroleum Engineering
Plant Engineering
Plant Maintenance
Power & Utilities
Process Control and Instrumentation
Production
Projects Engineering
Public Relations
Quality Assurance
Refinery Clinic
Refinery Operations Planning
Reliability Engineering
RGDP
Security
South OPD
SD / MM
Stock Control
Supply and Marine
Technical Services
Training and Development
HAZARD:
WORK PLACE HAZARDS:
Access/Egress
Adverse weather
Electrical hazards
Ergonomics (Manual Handling)
Ergonomics (Office)
Extended work hours
Fire/Explosion
Hot working environment
Improper storage/stacking
Lighting (Excessive)
Lighting (Glare)
Lighting (Poor)
Long exposure to monitors
Obstruction
Poor housekeeping
Restricted working space
Sharp edges
Sitting for a long period
Slips, trips and falls
Static electricity
Traffic
Ventilation (poor)
CHEMICAL HAZARDS:
Chemical fumes
Chemical spillage
Chemical Splash
Contact with hot liquids
Contact with hot materials
Corrosive materials
Exposure to Asbestos
Exposure to chemical dust
Exposure to dust
Exposure to fumes
Exposure to gases
Exposure to H2S
Exposure to hydrocarbons
Exposure to liquid Nitrogen
Exposure to SO2
Exposure to Sulphur dust
Exposure to welding fumes
Explosive Materials
Irritant Materials
Harmful Materials
Oxidizing Materials
Flammable materials
Leaks
Oxygen Deficiency
Toxic Materials
Carcinogenic Materials
Release of Nitrogen
PHYSICAL HAZARDS:
Exposure to High Noise Level
Infrared Exposure
Needle Stick
Non-Ionizing radiations
Radioactive Materials
Vibrations
EQUIPMENT HAZARDS:
Brazing
Entanglement
Fall from ladders
Fall of objects from height
Falling from Heights
Low Pipes
Machines & Equipment - Moving Parts
Machines & Equipment - Pinch Points
Machines & Equipment - Rotating
PROCESS HAZARDS:
Contact with hot surfaces
Flying Objects
High pressure
High voltage
Restricted working space
Steam leaks
OTHER HAZARDS:
Biological hazards
Confined spaces
Exposure to insects and rodents
Fatigue
Handling gas cylinders
Stored Energy
Stress
CONSEQUENCE:
Ache/pain
Asphyxiation
Back and neck pain
Back and shoulder disorders
Back injuries
Burns
Cancer
Cold burns
Death
Diseases and infections
Drowning
Electric Shock
Explosion
Eye burns
Eye irritation
Eyestrain
Fatigue/Stress
Fire
Head injury
Hearing Loss
Heat exhaustion
Heat Rash
Heat stress
Heat stroke
Injury (Bruises)
Injury (Burns)
Injury (Cuts and Laceration)
Injury (Fractures)
Injury (Sprains)
Irritation to respiratory system
Irritation to respiratory system and eyes
Irritation to respiratory system, eyes and skin
Irritation to skin
Irritation to skin, and respiratory tract
Irritation to the eyes and throat
Loss of Consciousness
Major Injury (Amputation)
Major Injury (Major Fractures)
May cause drowsiness and dizziness
May cause sensitisation by inhalation or skin contact
May impair fertility
Neck pain
RSI (Repetitive Strain Injury)
Serious damages to health by prolonged exposure
Upper limb disorders
Wrist pain

## Action Item Tracking
ACTION ITEM TRACKING FORM | [5 empty] | Reference No. | 2021-AA-HIDD-TH-01
Department/Company: |  | Al Ahlia Contracting | Facility/Unit: | ELECTRICAL |  | Assessment Date: | 2021-12-11 | -
Location: |  | Hidd Dry Dock Highway | Job Title: | Excavation for Trial hole to locate Existing 220kV Duct bank crossing BAPCO ARAD A1 JET FUEL LINE. |  | Issue Date/Rev No. | - | -
Action Item No. |  | ACTION PLAN
2021-AA-HIDD-TH-01
NO. | ADDITIONAL CONTROL MEASURE | ACTION TO BE TAKEN |  | DEPARTMENT | ACTION BY / SIGNATURE | TARGET DATE | VERIFICATION / CLOSURE DATE | SIGNED BY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
Bapco Form No. BP4514 (11/21)

## Team Approval
RISK ASSESSMENT TEAM APPROVAL | [5 empty] | Reference No. | 2021-AA-HIDD-TH-01 | -
Department/Company: | Al Ahlia Contracting | Facility/Unit: | ELECTRICAL | - | - | Assessment Date: | 2021-12-11 | -
Location: | Hidd Dry Dock Highway | Job Title: | Excavation for Trial hole to locate Existing 220kV Duct bank crossing BAPCO ARAD A1 JET FUEL LINE. | - | - | Issue Date/Rev No. | - | -
I have participated in the review and approval of this Risk Assessment
Department/Company: | Name |  | Badge Number | Job Title |  | Signature | Date
Type here: Author of this risk assessment

## Acknowledgement
RISK ASSESSMENT ACKNOWLEDGEMENT and COMMUNICATION | [5 empty] | Reference No. | 2021-AA-HIDD-TH-01 | -
Department/Company: | Al Ahlia Contracting | Facility/Unit: | ELECTRICAL | - | - | Assessment Date: | 2021-12-11 | -
Location: | Hidd Dry Dock Highway | Job Title: | Excavation for Trial hole to locate Existing 220kV Duct bank crossing BAPCO ARAD A1 JET FUEL LINE. | - | - | Issue Date/Rev No. | - | -
Department/Company | Name |  | Badge Number | Job Title |  | Signature | Date
Bapco Form No. BP4514 (11/21)

## Matrix
Health & Safety Matrix |  |  |  |  | 16-25 |  | Very High Risk | Immediate short term mitigation required, long term risk mitigation plan(s) must be developed and implemented to reduce the risk to ALARP
[5 empty] | 12-15 |  | High Risk | Short term interim risk mitigation required, long term risk mitigation plan(s) must be developed and implemented to reduce the risk to ALARP
[5 empty] | 8-10 |  | Medium Risk | Additional long-term risk reduction required. Management approval must be required if no further action can be reasonably taken
LIKELIHOOD |  |  |  |  | 4-6 |  | Low Risk | Risk is low and can be managed if controls and management systems are in place and consistent with the risk mitigation recommendations Note: Special consideration shall be taken in managing the extremities (risk level = 5)
The likelihood of consequences occurring: |  |  | Index |  | 1-3 |  | Very Low Risk | Very low risk, no further reduction is required. Test and maintain existing controls.
Multiple occurrences have happened frequently in the organization and/or industry. |  |  | Frequent | 5 | LIKELIHOOD | 5 | 10 | 15 | 20 | 25
Certain to occur more than once or twice per year in the organization and/or industry. |  |  | Likely | 4 |  | 4 | 8 | 12 | 16 | 20
Likely to occur once every two years or more in life of organization and/or in the industry. |  |  | Occasional | 3 |  | 3 | 6 | 9 | 12 | 15
Likely to occur once or more in life of organization and/or in the industry. |  |  | Possible | 2 |  | 2 | 4 | 6 | 8 | 10
Unlikely to occur in the organization but known in industry. |  |  | Remote | 1 |  | 1 | 2 | 3 | 4 | 5
RISK CATEGORIES |  |  |  |  | CONSEQUENCES
[5 empty] | 1 |  | 2 | 3 | 4 | 5
[5 empty] | Incidental |  | Minor | Moderate | Serious | Catastrophic
Operational | People | Health & Safety | Workforce |  | No impact or minor First Aid injury |  | First Aid injury (e.g. minor cuts and bruises, eye irritation from dust) or very minor health effect | Lost Time/ Non Lost Time injury (e.g. sprains, fracture, cut, lacerations, burns or bruises) or health effect (i.e. deafness or dermatitis) | Single fatality or Major injuries (amputations, major fractures, multiple injuries), or health effects (severely life shortening disease, occupational illness) | Multiple fatalities or Multiple permanent disabilities
|  |  | Public |  | No public impact |  | Creates minor public attention but no injuries | Results in one injury to any public but not serious | Cause several serious injuries that can cause public panic | Single or more fatalities that can create huge public panic
Bapco Form No. BP4514 (11/21)

## Hazards
HAZARDS:
WORK PLACE HAZARDS:
Access/Egress
Adverse weather
Electrical hazards
Electrical shocks
Ergonomic problems
Excessive use of mouse
Extended work hours
Fire/Explosion
Glaring light
Heating
Hot working environment
Improper storage/stacking
Long exposure to DCS/PC monitors
Obstruction
Office ergonomics
Poor housekeeping
Poor lighting
Poor ventilation
Restricted working space
Sharp edges
Sitting for a long period
Slippery area
Slips, trips and falls
Static electricity
Thermal comfort
Traffic routes
Use of office equipment / tools
Working environment
CHEMICAL HAZARDS:
Acid Burn
Acid splash
Asphyxiation
Charging chemicals to the system
Chemical burn
Chemical explosion
Chemical fumes
Chemical spillage
Chemical Splash
Cleaning - spillage of Steamate
Contact with gas
Contact with hot materials
Contact with liquids
Corrosive materials
Diesel spill
Exposure to <300 ppm H2S
Exposure to 300 ppm to <1,000 ppm H2S
Exposure to chemical dust
Exposure to chemicals
Exposure to Chlorine
Exposure to DEA
Exposure to dust
Exposure to fumes
Exposure to gases
Exposure to grease
Exposure to hydrocarbons
Exposure to liquid Nitrogen
Exposure to more than 1,000 ppm H2S
Exposure to NH3
Exposure to oils
Exposure to SO2
Exposure to Sulfur dust
Exposure to welding fumes
Flammable materials
Leaks
Release of Nitrogen
PHYSICAL HAZARDS:
Awkward posture
Broken glass
Contact with hot materials
Glaring light
Infrared emissions
Ionizing radiations
Manual lifting/handling
Needle stick
Non-Ionizing radiations
Personal noise exposure 80 dBA and peak of 135 dBC
Personal noise exposure 85 dBA and peak 137 dBC
Personal noise exposure 87 dBA and peak 140 dBC
Poor lighting
UV/IR radiation
Vibrations
Water Leak
Water Spill
EQUIPMENT HAZARDS:
Brazing
Cleaning
Contact with cold surfaces
Contact with hot surfaces
Caught in Between
Cutting pipes
Drowning
Entanglement
Excavation
Failure of drain cleaning (trapped Pipes)
Failure to isolate the systems
Fall of objects from height
Fall of persons from height
Falling from heights
Fall from ladders
Fall from ladders >6m
Head impact into low height pipes
High pressure
Pressure release
High voltage
Lose of LP Boiler
Maintenance of floors/stairs
Mechanical lifting operations
Operation of vehicles
Oxygen deficiency <16%
Person-vehicle interface
Power failure
Pressure Systems - Gases & Autoclaves
Use of hand tools
PROCESS HAZARDS:
Propulsion of materials
Restricted working space
Steam leaks
Use of machines - moving parts hazards
OTHER HAZARDS:
Biological hazards
Circadian rhythm disorder
Collision
Exposure to asbestos
Exposure to insects and rodents
Confined spaces
Handling gas cylinders
Medical emergency
Musculoskeletal problem
Natural phenomena / calamity
Non-occupational hazards
Oil Spill
Psychological hazards
Road hazards
Splashing of hot waters
Stored energy
Toxic/poison
Visual stress

## Consequences
CONSEQUENCES:
Ache/pain
Back and arm disorders
Back and neck pain
Back injuries
Burns
Bursting of sludge drain
Cancer
Carpel Tunnel Syndrome
Causes burns to any area of contact & destructive to upper respiratory tract
Cold burns
Cuts or lacerations
Death
Diseases and infections
Drowning
Environmental impact
Electrical Shock
Explosion
Eye burns
Eye cataract
Eye irritation
Eyestrain
Fatigue/stress
Fire
First aid injury
Fractures
Frost bite
Head injury
Heat dermatitis
Heat exhaustion
Heat stress
Heat stroke
Irritation to respiratory system
Irritation to respiratory system and eyes
Irritation to respiratory system, eyes and skin
Irritation to skin
Irritation to skin, and respiratory tract
Irritation to the eyes and throat
Lost Time/ Non Lost Time injury (i.e. sprains, fracture, cut, lacerations, burns or bruises) or health effect (i.e. deafness or dermatitis)
Lower back injury
Lower performance
Major injuries (i.e. amputations, major fractures, multiple injuries) or health effects (i.e. severely life shortening disease, occupational illness)
May cause irritation to skin, eyes, and respiratory tract and may cause allergic reaction and breathing difficulties
Neck pain
NIHL
Nuisances smell
Oxygen deficiency
Phosgene
Physical injury
Psychological pressure
Redness of skin
Serious burns
Serious burns or death
Single or multiple fatalities or permanent disability
Slips or trips under insufficient lighting
Sprains and fractures
Sprints, cuts or fractures
Stinging eye irritation and nose or throat irritation
Toxic
Unconsciousness
Upper limb disorders
Visual discomfort
Wrist pain and tense muscles